Short tutorial on ANACONDA, v2
- Installation
- Step-to-step through routines
- future merging with HDF5/MAX IV

---
Installation (as user)
1. - Download (clone) from GitHub:
2. https://github.com/gasfas/ANACONDA_2
4. - D&D in MATLAB cmd window
6. - Open	‘GettingStarted.mlx’,
7. or	‘GettingStarted_plain.m’
9. - Run it, enjoy the errors...

---
Installation (as dev)
1. - Install github desktop
2. - Clone from repository
3. - Request developer permissions

---
Data analysis structure
Macro: function that executes subroutines.
One macro for each step: Correct, convert, plot, etc.

---
Importing (meta) data
1. Load data:
  1. data = IO.import_raw(‘full data filename’)
2. And metadata:
  1. mdata = IO.import_metadata(‘full metadata filename’)
3. If you have no data at hand, use an example:
  1. data = IO.COBOLD.import_example();
4. If metadata is not yet defined: default metadata is defined in the toolbox for each setup. e.g.:
  1. mdata = metadata.defaults.exp.CIEL.md_all_defaults

---
Quick visualization of imported data
1. Make histogram of X,Y:
2. plot.quickhist(data.h.det1.raw(:,1:2))
3. Make histogram of TOF:
4. plot.quickhist(data.h.det1.raw(:,3))
6. Inspect any function:
  edit macro.calibrate.TOF_2_m2q

---
Correct data (t0, abberations, etc.)
1. To handle alignment or artefacts issues

---
Correct data (t0, abberations, etc.)
1. To handle alignment or artefacts issues
2. Calibration needed to determine the correction values (as defined in metadata)
3. For example to centre detector:
  1. data_correct = macro.correct.dXdY(data, mdata, ‘det1’);
4. Or to deal with a spectrometer abberation:
  1. data_correct = macro.correct.lensadd(data, mdata, ‘det1’)

---
On/off ‘flags’
1. Corrections can be turned on or off in metadata:

---
On/off ‘ifdo’ flags
1. These flags exist for the macros:
  1. - Correct
  2. - Convert
  3. - Plot
  4. - Filter

---
Convert (X, Y, TOF, etc.) to (m, px, etc.)

---
Filter on hits:
1. Filters are formed from conditions. e.g.:
  1. cond.oil.data_pointer	= 'h.det1.m2q_l';

---
Filter on hits:
1. Filters are formed from conditions. e.g.:
  1. cond.oil.data_pointer	= 'h.det1.m2q_l';
  2. cond.oil.type	= 'discrete';

---
Filter on hits:
1. Filters are formed from conditions. e.g.:
  1. cond.oil.data_pointer	= 'h.det1.m2q_l';
  2. cond.oil.type	= 'discrete';
  3. cond.oil.value	= [72; 73];

---
Filter on hits:
1. Filters are formed from conditions. e.g.:
  1. cond.oil.data_pointer	= 'h.det1.m2q_l';
  2. cond.oil.type	= 'discrete';
  3. cond.oil.value	= [72; 73];
  4. cond.oil.translate_condition	= 'AND';

---
Filter on hits:
1. Filters are formed from conditions. e.g.:
  1. cond.oil.data_pointer	= 'h.det1.m2q_l';
  2. cond.oil.type	= 'discrete';
  3. cond.oil.value	= [72; 73];
  4. cond.oil.translate_condition	= 'AND';
  5. cond.oil.invert_filter	= true;

---
Filter on hits:
1. Data pointer could be any MATLAB expression:
  1. cond.m2q.data_pointer	= 'h.det1.m2q_l.*h.det1.TOF+1';
  2. cond.m2q.type	= 'discrete';
  3. cond.m2q.value	= [72; 73];
  4. cond.m2q.translate_condition = 'AND';
  5. cond.m2q.invert_filter	= true;

---
Filter on hits:
1. The 1st and/or 2nd and/or 3rd hit can be selected:
  1. cond.m2q.data_pointer	= 'h.det1.m2q_l.*h.det1.TOF+1';
  2. cond.m2q.type	= 'discrete';
  3. cond.m2q.value	= [72; 73];
  4. cond.m2q.translate_condition = 'AND';
  5. cond.m2q.invert_filter	= true;
  6. cond.m2q.hitselect	= [1, 3];

---
Filter on events:
1. Total Kinetic energy:
  1. KER_sum.type	=	'continuous';
  2. KER_sum.data_pointer = 'e.det1.KER_sum';
  3. KER_sum.value = [0; 80]; % [eV]

---
Merging of conditions:
1. When merging filters, operators can be defined:
  1. cond.combined.m2q	= m2q
  2. cond.combined.oil	= oil;
  3. cond.combined.KER_sum	= KER_sum;
  4. cond.combined.operators = {‘AND’, ‘OR’};

---
Making Plots
1. Metadata separated in categories:
  figure:	Figure handle properties
  1. axes:	Axes handle properties
  2. hist:	Histogram metadata
  3. GraphObj:Graphical Object handle
  4. Cond:	(optional) plot condition
2. What are handles?

---
Calibration
All correction and conversion parameters need calibration.

---
Calibration
1. Metadata calibration:
2. macro.calibrate.momentum(data, 1, mdata)

---
HDF5 dummy file